MULTIFAMILY PEST REFERENCE · FREE TOOL

# Property Self-Assessment Walk Checklist

Walk your own property the way an entomologist would: where pests get in, where they would live, and what is feeding them.

Prepared by Trenton S. Frazer, M.S., Board Certified Entomologist (BCE #B3413) · Version 1.0, October 13, 2026 · Not legal advice

## How to use this document

Walk the property with a phone camera and this sheet. Mark each line OK, Fix (with a note and photo), or N/A. Every Fix is a building condition to assign and track until it is closed. The walk finds conditions; it is not a pest inspection of occupied units and it does not replace one.

# Trash and recycling enclosures

☐  Dumpsters and carts have lids that close, and lids are closed
      Note: ______________________________

☐  Containers are not overflowing; no bags on the ground
      Note: ______________________________

☐  Dumpsters sit away from building doors, vents and windows [NOTE DISTANCE]
      Note: ______________________________

☐  Enclosure pad is sound and drains; no standing liquid or food debris
      Note: ______________________________

☐  Enclosure gate and walls have no gaps rodents can use for cover
      Note: ______________________________

☐  Bulk-item and furniture drop area is controlled (discarded mattresses and couches can carry bed bugs to the next resident)
      Note: ______________________________

☐  Signs of rodents: burrows, droppings, gnawing, rub marks
      Note: ______________________________

# Building exterior

☐  Exterior doors close fully; door sweeps and thresholds leave no daylight
      Note: ______________________________

☐  Gaps around pipes, conduits, cable and hose bibs are sealed (young house mice can pass through openings about 1/4 inch, or 6 mm, wide)
      Note: ______________________________

☐  Dryer and bath vents have working dampers or screens
      Note: ______________________________

☐  Crawl space and foundation vents are screened and intact
      Note: ______________________________

☐  Weep holes, siding joints and soffits have no openings into wall voids
      Note: ______________________________

☐  Vegetation, mulch and ivy are kept back from the foundation
      Note: ______________________________

☐  Downspouts and irrigation do not leave standing water against the building
      Note: ______________________________

☐  Exterior lights near doors: note fixtures that draw insects to entrances
      Note: ______________________________

☐  Bird nesting on ledges, signs or light fixtures; bat staining at roofline or vents (identify before acting; wildlife law may apply)
      Note: ______________________________

☐  Exterior rodent stations (if present) are secured, labeled and on the device map
      Note: ______________________________

# Common areas

☐  Laundry room: lint, spilled detergent, standing water, gaps behind machines
      Note: ______________________________

☐  Community room and kitchen: food storage sealed, no grease buildup, under-sink area dry and sealed
      Note: ______________________________

☐  Hallways: no stored furniture, carpets and baseboards intact
      Note: ______________________________

☐  Mail room and package room: no food left out; packages not stored long on the floor
      Note: ______________________________

☐  Fitness and pool areas: drains clean, no standing water
      Note: ______________________________

☐  Office: snacks sealed; reports of pests logged with a date
      Note: ______________________________

# Mechanical, boiler and storage rooms

☐  Penetrations through walls and floors are sealed
      Note: ______________________________

☐  No clutter, cardboard or stored food
      Note: ______________________________

☐  No leaks, condensation pooling or wet insulation
      Note: ______________________________

☐  Floor drains have covers and traps that hold water
      Note: ______________________________

# Units at turnover (empty)

☐  Behind and under the stove, refrigerator and dishwasher: droppings, egg cases, live or dead insects
      Note: ______________________________

☐  Under sinks: gaps around supply and drain lines; escutcheon plates in place
      Note: ______________________________

☐  Bathroom: gaps behind toilet and tub; exhaust fan works
      Note: ______________________________

☐  Bedroom: baseboards, carpet edges, outlet covers and closet shelving checked for bed bug evidence
      Note: ______________________________

☐  Window screens intact; door sweep on the entry door
      Note: ______________________________

☐  Any finding is reported to the pest provider and closed before re-rental
      Note: ______________________________